# GridReady AI MVP Specification

## Version 0.1 — Site Power Feasibility & Interconnection Readiness Product

## 1. Product Summary

GridReady AI is an infrastructure intelligence product for AI data-centre and large-load development.

The MVP helps developers, investors, energy developers, landowners, and consultants answer one high-value question:

Can this candidate AI data-centre or large-load site realistically secure power, pass interconnection diligence, manage grid/reliability risk, and justify further capital commitment?

The first product is not a full SaaS platform. It is a software-assisted diligence workflow that produces a paid deliverable:

GridReady AI Site Power Feasibility & Interconnection Readiness Report

The MVP combines:

- Customer site intake

- Internal analyst dashboard

- GIS and grid-asset screening

- Interconnection-readiness checklist

- Reliability-risk checklist

- Energy economics and congestion view

- Flexibility-readiness assessment

- Evidence-backed PDF report

- Investor/utility-ready memo

- Human expert review

The MVP should start in one market only:

ERCOT / Texas large-load and AI data-centre sites

The product should initially target candidate sites requiring approximately 75 MW or greater of electrical load, with an emphasis on 100 MW–500 MW AI data-centre and GPU-cloud projects.

# 2. MVP Objective

## 2.1 Primary Objective

Build a repeatable product that allows GridReady AI to produce a credible, evidence-backed power-feasibility report for a candidate AI data-centre site within 5–10 business days.

## 2.2 Business Objective

Validate whether customers will pay for early-stage site diligence before GridReady AI invests in a full SaaS platform.

The MVP should support:

- Single-site feasibility report

- Multi-site screening pack

- Investor underwriting pack

- Interconnection-readiness pack

- Strategic advisory retainer

## 2.3 Product Objective

The MVP must reduce the customer’s uncertainty around:

- Whether the site is plausibly power-feasible

- Whether the site appears eligible for a large-load interconnection pathway

- Which utility, TSP, DSP, or ISO/RTO process likely applies

- What data, forms, studies, attestations, and engineering inputs may be needed

- What grid reliability or ride-through risks may matter

- Whether power economics, congestion, permitting, cooling, water, or local constraints create risk

- Whether the site can be positioned as flexible, staged, curtailable, or grid-supportive

- Whether the site should be pursued, paused, rejected, or escalated to deeper engineering diligence

# 3. MVP Scope

## 3.1 In Scope

The MVP includes:

- Customer-facing site intake form

- Admin/analyst dashboard

- Site database

- Site map view

- Basic GIS overlays

- Utility/service territory identification

- Nearby grid asset identification

- Transmission/substation proximity analysis

- Candidate point-of-interconnection notes

- ERCOT large-load process checklist

- Required-information checklist

- Reliability-risk checklist

- Energy economics summary

- Congestion-risk summary

- Nearby generation summary

- Flexibility-potential assessment

- Evidence source library

- Scoring engine

- Human review workflow

- PDF report generator

- Investor/utility memo generator

- Exportable evidence binder

- Internal notes and assumptions log

## 3.2 Out of Scope for MVP

The MVP must not attempt to do the following:

- Guarantee power availability

- Guarantee interconnection approval

- Replace a utility, TSP, DSP, ERCOT, or ISO/RTO study

- Replace licensed electrical engineering analysis

- Perform full power-flow simulation

- Perform EMT/dynamic stability studies

- Submit interconnection applications automatically

- Operate or optimise live data-centre workloads

- Perform real-time energy trading

- Manage live demand-response dispatch

- Provide binding legal or regulatory advice

- Offer nationwide coverage on day one

- Build a fully self-serve SaaS workflow before paid pilots

## 3.3 Explicit MVP Boundary

The MVP should be positioned as:

Early-stage power feasibility and interconnection-readiness intelligence.

It should not be positioned as:

A definitive engineering study, official utility capacity confirmation, or guaranteed interconnection outcome.

# 4. Target Users

## 4.1 Primary User Persona: Data-Centre Developer

### Description

A small-to-mid-sized data-centre developer evaluating multiple candidate sites for AI compute infrastructure.

### Primary Need

Avoid wasting months and millions on land or projects that cannot secure power on acceptable timelines.

### Jobs to Be Done

- Screen sites before land acquisition

- Understand likely power constraints

- Identify relevant utility/TSP/DSP/ISO process

- Prepare for utility conversations

- Support investor conversations

- Compare multiple sites

- Decide whether to proceed, pause, or reject

### Buying Trigger

The developer is considering a site and needs to know whether it is worth pursuing before committing serious capital.

## 4.2 Secondary User Persona: Infrastructure Investor

### Description

An infrastructure fund or private investor underwriting a data-centre, power, or land-development opportunity.

### Primary Need

Understand whether the project’s power-access assumptions are credible.

### Jobs to Be Done

- Validate sponsor assumptions

- Identify hidden interconnection risk

- Assess time-to-power risk

- Compare sites or projects

- Prepare investment committee materials

- Avoid underwriting unrealistic energization dates

### Buying Trigger

The investor is evaluating a transaction or financing package.

## 4.3 Secondary User Persona: Energy Developer

### Description

A renewable, gas, storage, or hybrid power developer trying to attract large-load offtakers.

### Primary Need

Prove that a site or energy project is credible for AI data-centre load.

### Jobs to Be Done

- Identify large-load-compatible sites

- Package projects for data-centre customers

- Understand interconnection constraints

- Evaluate co-location or behind-the-meter options

- Create investor and offtaker materials

## 4.4 Secondary User Persona: Industrial Landowner or Broker

### Description

A landowner or broker marketing industrial land as suitable for data-centre development.

### Primary Need

Avoid unsupported claims and package the site with credible power-readiness evidence.

### Jobs to Be Done

- Assess whether the land is realistically power-viable

- Create a power-readiness memo

- Improve site marketing materials

- Identify gaps before approaching developers

## 4.5 Internal User Persona: GridReady Analyst

### Description

An internal analyst who prepares the site diligence report using the platform.

### Primary Need

Produce consistent, high-quality, evidence-backed reports quickly.

### Jobs to Be Done

- Intake site information

- Run repeatable checks

- Review GIS layers

- Pull source documents

- Enter assumptions

- Assign risk ratings

- Generate report sections

- Escalate technical questions to expert reviewers

# 5. Core Product Deliverable

## 5.1 MVP Deliverable Name

GridReady AI Site Power Feasibility & Interconnection Readiness Report

## 5.2 Deliverable Format

Each completed assessment should produce:

- PDF report

- Map pack

- Risk scorecard

- Readiness checklist

- Investor/utility-ready memo

- Evidence appendix

- Optional spreadsheet export

## 5.3 Report Length

The standard report should be approximately:

- 12–20 pages for a single-site screen

- 25–50 pages for a multi-site pack

- 30–75 pages for a deeper investor/interconnection-readiness pack

## 5.4 Standard Report Sections

The report must include:

- Executive Verdict

- Site Overview

- Project Assumptions

- Power Feasibility Score

- Nearby Grid Infrastructure

- Utility / TSP / DSP / Market Context

- Likely Interconnection Pathway

- Required Information and Missing Diligence

- Grid Reliability Risk Assessment

- Energy Economics and Congestion View

- Nearby Generation and Power Procurement Options

- Flexibility and Demand-Response Potential

- Permitting, Water, Cooling, and Community Risk Flags

- Key Risks and Mitigants

- Recommended Next Steps

- Investor/Utility-Ready Memo

- Evidence Appendix

- Assumptions and Limitations

# 6. MVP User Journeys

## 6.1 Journey 1: Single-Site Feasibility Assessment

### Actor

Customer

### Trigger

Customer wants to evaluate a candidate AI data-centre site.

### Steps

- Customer submits site intake form.

- Customer provides site coordinates or parcel/address.

- Customer enters target load in MW.

- Customer enters desired energization date.

- Customer enters project stage.

- Customer uploads any available documents.

- GridReady analyst reviews intake.

- Analyst runs site screening workflow.

- Analyst reviews utility territory and nearby grid assets.

- Analyst reviews relevant interconnection process.

- Analyst scores the site.

- Expert reviewer validates high-risk sections.

- Platform generates draft report.

- Analyst finalises executive verdict.

- Customer receives PDF report and memo.

### Acceptance Criteria

- Customer can submit a complete site request.

- Analyst can view all intake data in one place.

- Report includes all required report sections.

- Each major conclusion includes evidence or assumption notes.

- Final recommendation uses one of the approved verdict categories.

## 6.2 Journey 2: Multi-Site Screening Pack

### Actor

Customer

### Trigger

Customer has 3–20 candidate sites and wants to rank them.

### Steps

- Customer uploads list of sites.

- Platform creates individual site records.

- Analyst runs a light-screen workflow for each site.

- Platform calculates comparable scores.

- Platform creates ranking table.

- Analyst reviews top risks and obvious eliminations.

- Platform generates multi-site comparison report.

- Customer receives ranked recommendations.

### Acceptance Criteria

- Platform supports batch site upload.

- Each site receives comparable scoring.

- Output includes ranking and recommendation category.

- Output identifies top 3 recommended sites and bottom sites to reject or pause.

- Output explains why each site scored as it did.

## 6.3 Journey 3: Investor Underwriting Pack

### Actor

Infrastructure investor

### Trigger

Investor is evaluating a transaction or project financing.

### Steps

- Investor submits site and sponsor assumptions.

- Platform records claimed power capacity, claimed timeline, and claimed utility path.

- Analyst compares sponsor claims to public evidence and GridReady scoring.

- Analyst identifies unsupported assumptions.

- Analyst creates risk-adjusted view of power readiness.

- Expert reviewer validates critical risks.

- Platform generates investor memo and diligence checklist.

### Acceptance Criteria

- Report clearly distinguishes sponsor claims from independently supported evidence.

- Report identifies assumptions that require direct utility/TSP confirmation.

- Report includes an investment-committee-friendly summary.

- Report has clear “underwriting risks” and “next diligence questions” sections.

## 6.4 Journey 4: Internal Analyst Report Workflow

### Actor

GridReady analyst

### Trigger

A new customer project is created.

### Steps

- Analyst opens project dashboard.

- Analyst reviews site intake completeness.

- Analyst assigns market/region.

- Analyst validates location.

- Analyst reviews map layers.

- Analyst captures nearby grid assets.

- Analyst adds evidence sources.

- Analyst completes module checklists.

- Analyst assigns risk scores.

- Analyst requests expert review where required.

- Analyst generates draft report.

- Analyst edits language and verdict.

- Analyst marks report as ready.

- Admin sends report to customer.

### Acceptance Criteria

- Analyst can complete the workflow without leaving the dashboard for internal data entry.

- Analyst can attach sources to every key finding.

- Analyst can override automated suggestions with explanation.

- System preserves audit trail of all edits and scoring decisions.

# 7. Functional Requirements

## 7.1 Site Intake

### FR-001: Customer Site Submission

The system must allow a customer or internal analyst to create a site assessment request.

Required fields:

- Customer organisation

- Contact name

- Contact email

- Site name

- Site address

- Latitude

- Longitude

- Parcel ID, if available

- Site boundary file, if available

- Target load in MW

- Initial load phase in MW

- Full buildout load in MW

- Desired energization date

- Project stage

- Land control status

- Known utility contact

- Known substation or POI, if any

- Existing studies, if any

- Existing power quote, if any

- Backup generation assumptions

- Battery/storage assumptions

- Curtailment willingness

- Workload flexibility assumptions

- Water/cooling notes

- Confidentiality status

### FR-002: Site Intake Validation

The system must validate that required fields are present before analysis begins.

Required minimum fields:

- Site name

- Latitude and longitude or address

- Target load

- Desired energization date

- Customer name

- Contact email

### FR-003: File Upload

The system must allow customers or analysts to upload supporting files.

Supported file types:

- PDF

- DOCX

- XLSX

- CSV

- KML

- KMZ

- SHP

- GeoJSON

- PNG/JPG screenshots

### FR-004: Intake Completeness Score

The system must calculate a basic intake completeness score.

Example scale:

- 0–40: Insufficient for credible assessment

- 41–70: Enough for preliminary screen

- 71–90: Good for standard report

- 91–100: Strong intake package

## 7.2 Site Location and GIS

### FR-005: Map View

The system must display each site on a map.

Required map features:

- Site marker

- Optional parcel boundary

- Search radius rings

- Nearby transmission lines

- Nearby substations

- Utility/service territory overlays, where available

- Nearby generation assets

- Environmental/permitting risk overlays, where available

### FR-006: Radius Analysis

The system must calculate distance from the site to relevant assets.

Minimum calculations:

- Distance to nearest substation

- Distance to nearest transmission line

- Distance to nearest generation asset

- Distance to nearest major road

- Distance to nearest water source, if data is available

- Distance to nearest known load pocket or industrial zone, if available

Recommended search radii:

- 1 mile

- 5 miles

- 10 miles

- 25 miles

- 50 miles

### FR-007: Grid Asset Capture

The system must allow an analyst to save candidate grid assets to a site record.

For each grid asset, capture:

- Asset name

- Asset type

- Voltage class

- Owner/operator, if available

- Distance from site

- Source

- Confidence level

- Notes

### FR-008: Candidate POI Notes

The system must allow analysts to record likely or possible points of interconnection.

For each candidate POI, capture:

- POI name

- Asset type

- Voltage

- Owner/operator

- Distance

- Rationale

- Source evidence

- Confidence level

- Analyst notes

## 7.3 Market and Utility Context

### FR-009: Market Identification

The system must identify the relevant power market or region.

For MVP, default target market:

- ERCOT / Texas

Future markets may include:

- PJM

- MISO

- SPP

- CAISO

- NYISO

- ISO-NE

- Southeast bilateral utility territories

### FR-010: Utility/TSP/DSP Identification

The system must identify the likely utility, TSP, DSP, or service provider based on available territory data.

Each identification must include:

- Provider name

- Provider type

- Evidence source

- Confidence level

- Notes

### FR-011: Interconnection Process Identification

The system must identify the likely interconnection process or diligence pathway.

For MVP, supported pathways:

- ERCOT large-load pathway

- Utility/TSP-led preliminary service discussions

- Distribution-connected load pathway, if applicable

- Co-located generation/load pathway, if applicable

- Behind-the-meter or private-wire scenario, if applicable

### FR-012: Process Uncertainty Flag

If the system cannot confidently identify the applicable process, it must flag this as a major diligence item.

## 7.4 Interconnection Readiness

### FR-013: Large-Load Eligibility Check

The system must determine whether the stated project size appears to meet or exceed the relevant large-load threshold for the selected market.

For MVP, the system should flag sites at or above 75 MW in ERCOT as potentially subject to large-load interconnection requirements.

### FR-014: Required Information Checklist

The system must generate a checklist of information likely required for a large-load interconnection process.

Checklist categories:

- Site ownership/control

- Legal entity

- Load size

- Load ramp schedule

- Requested energization date

- Electrical one-line diagram

- Load model

- Protection settings

- Voltage ride-through capability

- Frequency ride-through capability

- Backup generation configuration

- Battery/storage configuration

- UPS configuration

- Telemetry and metering

- Curtailment capability

- Commissioning plan

- Financial security

- Point-of-interconnection assumptions

- Studies already completed

- Utility/TSP communications

### FR-015: Missing Diligence Identification

The system must identify missing or weak inputs.

Missing items should be categorised as:

- Critical blocker

- High-priority missing item

- Medium-priority missing item

- Nice-to-have

- Not applicable

### FR-016: Interconnection Readiness Score

The system must calculate an Interconnection Readiness Score from 0 to 100.

Suggested interpretation:

- 0–25: Not ready

- 26–50: Early diligence only

- 51–70: Partially ready

- 71–85: Good readiness

- 86–100: Strong readiness

### FR-017: Interconnection Risk Narrative

The system must generate a plain-English summary explaining why the site appears ready or not ready.

The narrative must include:

- Relevant process

- Missing inputs

- Likely blockers

- Required next steps

- Assumption caveats

## 7.5 Grid Reliability Risk

### FR-018: Reliability Risk Checklist

The system must generate a reliability-risk checklist.

Checklist categories:

- Voltage ride-through capability

- Frequency ride-through capability

- Protection settings

- UPS behaviour

- Backup generation transition behaviour

- Battery/storage control behaviour

- Sudden load drop risk

- Staged ramping capability

- Telemetry and observability

- Dynamic model availability

- Commissioning plan

- Disturbance response plan

- Reactive power considerations

- Harmonics/power quality, if known

- Co-located generation interaction, if applicable

### FR-019: Ride-Through Risk Flag

The system must flag unknown or unsupported ride-through assumptions as high-risk for large electronic load projects.

### FR-020: Sudden Load Drop Risk

The system must capture whether a large portion of site load could disconnect rapidly during grid disturbances.

Required fields:

- Estimated total load

- Estimated interruptible load

- Estimated load that could trip simultaneously

- Known UPS behaviour

- Known protection settings

- Known staged trip settings

- Confidence level

### FR-021: Reliability Readiness Score

The system must calculate a Reliability Readiness Score from 0 to 100.

Suggested interpretation:

- 0–25: Severe reliability uncertainty

- 26–50: Material reliability gaps

- 51–70: Moderate readiness

- 71–85: Good readiness

- 86–100: Strong readiness

### FR-022: Expert Review Trigger

The system must require expert review if:

- Target load is 75 MW or greater

- Ride-through settings are unknown

- Backup generation is part of the power strategy

- Battery/storage is part of the power strategy

- Co-located generation is part of the power strategy

- Analyst marks reliability risk as high

- Customer intends energization within 24 months

## 7.6 Energy Economics and Congestion

### FR-023: Power Market Zone Identification

The system must identify the relevant power pricing zone, hub, load zone, or market region where available.

### FR-024: Congestion Risk Summary

The system must provide a qualitative congestion-risk view based on available market and grid data.

Risk categories:

- Low

- Moderate

- High

- Unknown

### FR-025: Nearby Generation Summary

The system must identify nearby generation assets where available.

For each asset:

- Name

- Technology type

- Capacity

- Operating/planned status, if available

- Distance

- Owner/operator, if available

- Interconnection relevance

- Source

- Confidence

### FR-026: Power Procurement Options

The system must support analyst notes on possible power procurement strategies.

Options:

- Retail supply

- Utility tariff/service agreement

- PPA

- Virtual PPA

- Behind-the-meter generation

- Co-located generation

- Battery-backed supply

- Hybrid power stack

- Curtailable service

- Demand response

- Onsite backup generation

### FR-027: Energy Economics Score

The system must calculate an Energy Economics Score from 0 to 100.

Suggested inputs:

- Market price exposure

- Congestion exposure

- Nearby generation availability

- Power procurement optionality

- Tariff/service uncertainty

- Capacity/resource adequacy exposure, where relevant

- Behind-the-meter feasibility

## 7.7 Flexibility and Demand-Response Potential

### FR-028: Flexibility Intake

The system must collect flexibility assumptions.

Fields:

- Can load be curtailed?

- Maximum curtailable MW

- Minimum curtailment notice required

- Maximum curtailment duration

- Maximum annual curtailment hours

- Can compute workloads shift geographically?

- Can workload ramp gradually?

- Can energization be staged?

- Is battery storage planned?

- Is backup generation planned?

- Is thermal storage available?

- Is demand-response participation desired?

### FR-029: Flexibility Classification

The system must classify the site into one of the following flexibility profiles:

- Firm load only

- Partially curtailable load

- Staged-ramp load

- Battery-supported flexible load

- Backup-generation-supported load

- Workload-shiftable AI compute load

- Hybrid flexible/load-resource site

- Unknown flexibility

### FR-030: Flexibility Score

The system must calculate a Flexibility Score from 0 to 100.

Suggested interpretation:

- 0–25: No meaningful flexibility

- 26–50: Limited flexibility

- 51–70: Some useful flexibility

- 71–85: Strong flexibility

- 86–100: Highly grid-supportive flexibility

### FR-031: Flexibility Narrative

The system must generate a narrative explaining how the customer could position the site as more grid-supportive.

Examples:

- Stage energization over phases

- Offer curtailment during constrained periods

- Add battery storage

- Coordinate backup generation controls

- Implement workload shifting

- Provide telemetry

- Improve ride-through documentation

- Prepare demand-response strategy

## 7.8 Site, Permitting, Water, and Community Risk

### FR-032: Site Risk Checklist

The system must include a site-risk checklist.

Categories:

- Land control

- Zoning

- Flood risk

- Environmental constraints

- Water availability

- Cooling feasibility

- Community opposition risk

- Road access

- Fibre/network access

- Nearby industrial compatibility

- Noise concerns

- Air permitting risk for backup generation

- Local tax/economic development context

### FR-033: Site Risk Score

The system must calculate a Site Risk Score from 0 to 100.

This score should not dominate the MVP because the product is primarily power-readiness focused. However, it should flag non-power blockers.

## 7.9 Evidence and Source Management

### FR-034: Evidence Library

The system must allow each project to have an evidence library.

Evidence source fields:

- Source title

- Source type

- URL or file reference

- Publisher

- Publication date

- Access date

- Relevant excerpt or note

- Associated site

- Associated report section

- Confidence level

- Analyst notes

### FR-035: Evidence Required for Key Claims

Every key claim in the report must be connected to at least one of:

- Source evidence

- Customer-provided data

- Analyst assumption

- Expert judgement

### FR-036: Source Confidence Level

Each evidence source must be classified as:

- Official source

- Utility/TSP/DSP source

- ISO/RTO source

- Government/regulator source

- Customer-provided source

- Commercial data source

- Analyst-derived estimate

- Unverified source

### FR-037: Evidence Gap Flag

If a report section relies heavily on assumptions rather than direct evidence, the system must flag the section as lower confidence.

## 7.10 Scoring Engine

### FR-038: Overall Power Readiness Score

The system must calculate an Overall Power Readiness Score from 0 to 100.

Recommended weighting:

- Power Feasibility: 30%

- Interconnection Readiness: 20%

- Grid Reliability Readiness: 15%

- Energy Economics and Congestion: 10%

- Flexibility Potential: 10%

- Site/Permitting/Water Risk: 10%

- Evidence Confidence: 5%

### FR-039: Score Bands

Overall score interpretation:

- 0–24: Reject / not currently viable

- 25–44: High risk / major blockers

- 45–59: Proceed only with targeted diligence

- 60–74: Plausible but unresolved risks

- 75–84: Strong candidate

- 85–100: Highly attractive candidate

### FR-040: Verdict Categories

Every report must assign one verdict:

- Reject

- Pause

- Proceed with targeted diligence

- Proceed with caution

- Strong candidate

- Strong candidate, subject to utility/TSP confirmation

### FR-041: Confidence Level

The system must assign a confidence level separate from the score.

Confidence levels:

- Low

- Medium

- High

Confidence must be based on data completeness, source quality, and expert review status.

### FR-042: Manual Override

Analysts must be able to override generated scores.

Every override must require:

- Previous score

- New score

- Reason for override

- Analyst name

- Timestamp

- Optional expert reviewer approval

# 8. Scoring Methodology

## 8.1 Overall Scoring Philosophy

The score should not pretend to know actual available grid capacity unless confirmed by a utility/TSP/DSP/ISO/RTO study.

The score should represent:

Probability that the site is worth further development diligence based on available evidence.

The scoring engine must separate:

- Site attractiveness

- Interconnection readiness

- Reliability readiness

- Data confidence

A site may score well on physical grid proximity but poorly on confidence if critical data is missing.

## 8.2 Power Feasibility Score

Weight in overall score: 30%

Sub-factors:

- Transmission proximity — 20%

- Substation proximity — 20%

- Voltage class suitability — 15%

- Utility/TSP/DSP clarity — 10%

- Known grid constraint indicators — 15%

- Likely upgrade complexity — 10%

- Time-to-power plausibility — 10%

Example scoring guidance:

- 90–100: Strong nearby infrastructure, high-voltage access, clear utility/TSP path, no obvious public constraint indicators

- 70–89: Good infrastructure context, some unresolved questions

- 50–69: Plausible but uncertain

- 30–49: Weak indicators, likely major diligence required

- 0–29: No credible power-feasibility evidence yet

## 8.3 Interconnection Readiness Score

Weight in overall score: 20%

Sub-factors:

- Applicable process identified — 15%

- Required information available — 20%

- Load ramp schedule clarity — 10%

- Project entity/land control clarity — 10%

- One-line/model/protection inputs — 15%

- Commissioning plan readiness — 10%

- Utility/TSP communication maturity — 10%

- Financial/security readiness — 10%

## 8.4 Grid Reliability Readiness Score

Weight in overall score: 15%

Sub-factors:

- Voltage ride-through information — 20%

- Frequency ride-through information — 15%

- Protection settings — 15%

- UPS/backup generation behaviour — 15%

- Dynamic model availability — 10%

- Telemetry/observability readiness — 10%

- Staged ramp/controlled disconnection — 10%

- Co-located generation coordination — 5%

## 8.5 Energy Economics and Congestion Score

Weight in overall score: 10%

Sub-factors:

- Power price zone attractiveness — 20%

- Congestion risk — 25%

- Nearby generation optionality — 20%

- Retail/utility service clarity — 15%

- Behind-the-meter feasibility — 10%

- Power procurement optionality — 10%

## 8.6 Flexibility Potential Score

Weight in overall score: 10%

Sub-factors:

- Curtailment capability — 20%

- Staged energization — 15%

- Workload shifting — 20%

- Battery storage — 15%

- Backup generation coordination — 10%

- Demand-response eligibility — 10%

- Telemetry/control maturity — 10%

## 8.7 Site/Permitting/Water Risk Score

Weight in overall score: 10%

Sub-factors:

- Land control — 15%

- Zoning compatibility — 15%

- Water/cooling feasibility — 20%

- Flood/environmental constraints — 15%

- Community/permitting risk — 15%

- Road/fibre/infrastructure access — 10%

- Backup generation permitting risk — 10%

## 8.8 Evidence Confidence Score

Weight in overall score: 5%

Sub-factors:

- Official source coverage — 25%

- Customer documentation completeness — 20%

- GIS/data-source reliability — 15%

- Interconnection-process clarity — 15%

- Expert review completion — 15%

- Recency of data — 10%

# 9. Report Specification

## 9.1 Executive Verdict

The report must begin with a direct conclusion.

Required fields:

- Overall verdict

- Overall score

- Confidence level

- Top 3 reasons supporting verdict

- Top 3 risks

- Recommended next action

Example format:

Verdict: Proceed with targeted diligence
Overall Power Readiness Score: 68/100
Confidence: Medium
Primary reason: Site appears physically close to relevant grid infrastructure but has unresolved interconnection and reliability-readiness gaps.
Recommended next step: Confirm utility/TSP process, prepare missing load model inputs, and validate ride-through assumptions before land acquisition.

## 9.2 Site Overview

Required fields:

- Site name

- Address/coordinates

- County

- State

- Market/region

- Customer

- Target load

- Phase 1 load

- Full buildout load

- Desired energization date

- Land status

- Existing known utility/TSP/DSP

- Report date

- Analyst

- Reviewer

## 9.3 Project Assumptions

The report must explicitly state assumptions.

Required assumptions:

- Load size

- Load ramp schedule

- Availability of customer-provided information

- Whether land is controlled

- Whether backup generation is planned

- Whether battery storage is planned

- Whether workload flexibility is available

- Whether utility/TSP confirmation has been obtained

- Whether report is based only on public data and customer inputs

## 9.4 Power Feasibility Section

Must include:

- Map of site and nearby grid assets

- Nearest substations

- Nearest transmission lines

- Utility/TSP/DSP context

- Voltage class notes

- Likely POI candidates

- Known public constraints

- Time-to-power risk

- Analyst judgement

Required outputs:

- Power Feasibility Score

- Main strengths

- Main weaknesses

- Required next diligence

## 9.5 Interconnection Readiness Section

Must include:

- Likely applicable process

- Large-load threshold analysis

- Required forms/data checklist

- Missing data

- Utility/TSP/DSP communication status

- Commissioning-plan considerations

- Financial/security considerations

- Required engineering inputs

Required outputs:

- Interconnection Readiness Score

- Missing diligence table

- Critical blockers

- Next-step checklist

## 9.6 Grid Reliability Risk Section

Must include:

- Voltage ride-through readiness

- Frequency ride-through readiness

- Protection settings

- Backup generation behaviour

- UPS assumptions

- Battery/storage controls

- Sudden load disconnection risk

- Telemetry requirements

- Dynamic model availability

- Commissioning risk

Required outputs:

- Reliability Readiness Score

- Reliability red flags

- Expert review notes

- Questions for electrical engineer / utility / TSP

## 9.7 Energy Economics and Congestion Section

Must include:

- Relevant price zone or market context

- Congestion risk

- Nearby generation

- Power procurement optionality

- Behind-the-meter options

- High-level price-risk narrative

Required outputs:

- Energy Economics Score

- Congestion risk rating

- Power procurement notes

- Further diligence required

## 9.8 Flexibility Potential Section

Must include:

- Curtailment potential

- Staged ramping potential

- Workload shifting potential

- Battery/storage potential

- Backup generation role

- Demand-response potential

- Grid-supportive positioning

Required outputs:

- Flexibility Score

- Flexibility profile

- Recommended improvements

## 9.9 Site and Non-Power Risk Section

Must include:

- Land control risk

- Permitting/zoning risk

- Water/cooling risk

- Environmental/flood risk

- Community risk

- Fibre/transport infrastructure notes

- Backup generation permitting risk

Required outputs:

- Site Risk Score

- Non-power blockers

- Recommended follow-up

## 9.10 Investor/Utility-Ready Memo

The report must include a concise memo written in plain English.

Memo structure:

- Site summary

- Why the site may be attractive

- Why the site may be risky

- What remains unproven

- What the developer should prepare before utility/TSP engagement

- What investors should underwrite carefully

- Recommended next actions

## 9.11 Evidence Appendix

The evidence appendix must include:

- Source list

- Source type

- Date accessed

- Relevant notes

- Report section supported

- Confidence rating

## 9.12 Assumptions and Limitations

Every report must include a clear limitations statement.

Required language themes:

- This is not an official interconnection study.

- This does not guarantee power availability.

- This does not guarantee interconnection approval.

- Final determinations depend on utility, TSP, DSP, ISO/RTO, regulator, engineering studies, and project-specific facts.

- Public data may be incomplete or outdated.

- Report is intended for early-stage diligence and decision support.

# 10. Data Model

## 10.1 Core Entities

The MVP should use the following core database entities:

- Organisation

- User

- Project

- Site

- Site Intake

- Grid Asset

- Utility Territory

- Market Region

- Interconnection Requirement

- Evidence Source

- Analysis Run

- Risk Factor

- Score

- Report

- Report Section

- Expert Review

- File Upload

- Audit Event

## 10.2 Organisation Table

Fields:

- id

- name

- organisation_type

- website

- billing_contact_name

- billing_contact_email

- primary_contact_name

- primary_contact_email

- nda_status

- created_at

- updated_at

Organisation types:

- Data-centre developer

- Neocloud/GPU-cloud operator

- Infrastructure investor

- Energy developer

- Landowner

- Broker

- Consultant

- Utility

- Internal

## 10.3 User Table

Fields:

- id

- organisation_id

- name

- email

- role

- permission_level

- created_at

- updated_at

Roles:

- Customer admin

- Customer viewer

- GridReady analyst

- GridReady expert reviewer

- GridReady admin

## 10.4 Project Table

Fields:

- id

- organisation_id

- project_name

- project_type

- status

- customer_contact_id

- lead_analyst_id

- expert_reviewer_id

- deadline

- created_at

- updated_at

Project types:

- Single-site screen

- Multi-site screen

- Investor underwriting

- Interconnection readiness

- Retainer analysis

Project statuses:

- Draft

- Intake incomplete

- Intake complete

- In analysis

- Expert review

- Report draft

- Customer delivered

- Archived

## 10.5 Site Table

Fields:

- id

- project_id

- site_name

- address

- city

- county

- state

- country

- latitude

- longitude

- parcel_id

- site_boundary_geometry

- acreage

- land_control_status

- zoning_notes

- created_at

- updated_at

Land control statuses:

- Unknown

- No control

- LOI

- Option agreement

- Owned

- Leased

- Under negotiation

## 10.6 Site Intake Table

Fields:

- id

- site_id

- target_load_mw

- phase_1_load_mw

- full_buildout_load_mw

- desired_energization_date

- load_ramp_schedule

- backup_generation_planned

- backup_generation_mw

- battery_storage_planned

- battery_storage_mw

- battery_storage_mwh

- curtailment_possible

- curtailable_mw

- workload_shifting_possible

- known_utility

- known_tsp

- known_dsp

- known_poi

- existing_studies

- utility_conversations

- cooling_type

- water_requirement_notes

- fibre_connectivity_notes

- customer_notes

- intake_completeness_score

- created_at

- updated_at

## 10.7 Grid Asset Table

Fields:

- id

- asset_name

- asset_type

- geometry

- voltage_kv

- owner

- operator

- status

- source_id

- confidence_level

- created_at

- updated_at

Asset types:

- Substation

- Transmission line

- Generation asset

- Switching station

- Distribution substation

- Load zone

- Interconnection point

- Other

## 10.8 Site Grid Distance Table

Fields:

- id

- site_id

- grid_asset_id

- distance_miles

- distance_method

- analyst_relevance_flag

- notes

- created_at

- updated_at

Distance methods:

- Straight-line

- Road/path estimate

- Analyst estimate

- Unknown

## 10.9 Market Region Table

Fields:

- id

- market_name

- market_type

- region_geometry

- operator

- notes

- source_id

- created_at

- updated_at

Market types:

- ISO/RTO

- Bilateral utility territory

- Load zone

- Pricing hub

- Balancing authority

- Other

## 10.10 Interconnection Requirement Table

Fields:

- id

- market_region_id

- requirement_name

- requirement_category

- threshold_mw

- applicability_notes

- required_document

- required_data

- source_id

- effective_date

- status

- created_at

- updated_at

Requirement categories:

- Large-load process

- Form

- Attestation

- Study

- Model

- Commissioning plan

- Telemetry

- Ride-through

- Financial security

- Utility/TSP communication

- Other

## 10.11 Evidence Source Table

Fields:

- id

- title

- source_type

- publisher

- url

- file_id

- publication_date

- access_date

- excerpt

- relevance_notes

- confidence_level

- created_by

- created_at

- updated_at

## 10.12 Analysis Run Table

Fields:

- id

- site_id

- run_type

- run_status

- analyst_id

- started_at

- completed_at

- notes

Run types:

- Initial screen

- Full single-site report

- Multi-site screen

- Investor underwriting

- Expert review revision

Run statuses:

- Not started

- Running

- Analyst review required

- Expert review required

- Complete

- Failed

## 10.13 Risk Factor Table

Fields:

- id

- site_id

- category

- risk_name

- risk_level

- confidence_level

- description

- mitigation

- source_id

- analyst_notes

- created_at

- updated_at

Risk categories:

- Power feasibility

- Interconnection

- Reliability

- Energy economics

- Flexibility

- Site/permitting

- Water/cooling

- Community

- Evidence/data quality

Risk levels:

- Low

- Moderate

- High

- Critical

- Unknown

## 10.14 Score Table

Fields:

- id

- site_id

- analysis_run_id

- power_feasibility_score

- interconnection_readiness_score

- reliability_readiness_score

- energy_economics_score

- flexibility_score

- site_risk_score

- evidence_confidence_score

- overall_power_readiness_score

- verdict

- confidence_level

- scoring_version

- analyst_override

- override_reason

- created_at

- updated_at

## 10.15 Report Table

Fields:

- id

- project_id

- site_id

- report_type

- report_status

- report_version

- pdf_file_id

- generated_at

- delivered_at

- created_by

- approved_by

Report types:

- Single-site feasibility

- Multi-site screening

- Investor underwriting

- Interconnection readiness

- Memo only

Report statuses:

- Draft

- Analyst review

- Expert review

- Approved

- Delivered

- Archived

## 10.16 Expert Review Table

Fields:

- id

- site_id

- reviewer_id

- review_type

- status

- requested_at

- completed_at

- comments

- required_changes

- approval_status

Review types:

- Power systems

- Interconnection

- Reliability

- Energy markets

- Legal/regulatory

- Final report

# 11. AI / LLM Requirements

## 11.1 Acceptable AI Uses

The MVP may use AI for:

- Summarising official documents

- Extracting requirements from interconnection materials

- Generating first-draft report sections

- Classifying missing diligence items

- Creating customer-readable explanations

- Comparing site notes

- Drafting investor/utility memos

- Creating source-linked evidence summaries

- Assisting analysts with checklist completion

## 11.2 Prohibited AI Uses

The MVP must not allow AI to:

- Invent grid capacity

- Invent utility positions

- Invent interconnection timelines

- Invent source citations

- Present assumptions as facts

- Provide definitive engineering conclusions without review

- Generate final reports without analyst approval

- Replace expert review for high-risk reliability sections

## 11.3 AI Output Requirements

All AI-generated content must include:

- Source references or assumption notes

- Confidence level

- Analyst review status

- Generated timestamp

- Model/version metadata, if available

## 11.4 Retrieval-Augmented Generation

If using an LLM, the MVP should use retrieval over a controlled document library.

Document library categories:

- ERCOT large-load documents

- ERCOT Planning Guide sections

- ERCOT market notices

- FERC large-load materials

- NERC reliability materials

- Utility/TSP documents

- Internal GridReady templates

- Customer-provided documents

The LLM should only answer regulatory/process questions using retrieved documents.

# 12. Technical Architecture

## 12.1 Recommended MVP Architecture

The MVP should use a pragmatic architecture:

- Frontend web app

- Backend API

- Relational database with geospatial support

- Object storage for files

- Background worker for report generation and data processing

- LLM/RAG service

- GIS/map rendering layer

- PDF generation service

- Authentication and role-based access control

## 12.2 Recommended Stack

### Frontend

Recommended:

- Next.js

- React

- TypeScript

- Tailwind CSS

- Mapbox, MapLibre, or deck.gl for maps

### Backend

Recommended:

- Python

- FastAPI

- SQLAlchemy or equivalent ORM

- Pydantic for validation

### Database

Recommended:

- PostgreSQL

- PostGIS extension for geospatial queries

### File Storage

Recommended:

- AWS S3, Google Cloud Storage, Azure Blob Storage, or Supabase Storage

### Background Jobs

Recommended:

- Celery + Redis

- RQ + Redis

- Cloud Tasks / serverless worker equivalent

### Document Processing

Recommended:

- PDF text extraction

- DOCX extraction

- XLSX/CSV parsing

- Geospatial file parsing

- OCR only when necessary

### LLM Layer

Recommended:

- Retrieval-augmented generation over controlled document corpus

- Embeddings database or vector store

- Source-grounded answer generation

- Human approval workflow

### PDF Generation

Recommended:

- HTML-to-PDF renderer

- Template-based report generation

- Versioned report sections

### Authentication

Recommended:

- Auth0

- Clerk

- Supabase Auth

- Cognito

- Equivalent enterprise-ready auth provider

## 12.3 System Components

### Component 1: Customer Intake Portal

Purpose:

Allow customer or internal team to create site requests.

Features:

- Create project

- Add site

- Upload files

- Submit assumptions

- Track status

### Component 2: Analyst Console

Purpose:

Allow GridReady analysts to perform diligence.

Features:

- Project dashboard

- Site summary

- GIS view

- Checklist completion

- Evidence attachment

- Score editing

- Risk note entry

- Report generation

- Expert review assignment

### Component 3: Data Layer

Purpose:

Store site, grid, market, evidence, risk, and score data.

Features:

- Structured site database

- Grid asset tables

- Evidence library

- Versioned scoring

- Audit trail

### Component 4: GIS Layer

Purpose:

Visualise and calculate spatial relationships.

Features:

- Site maps

- Distance-to-asset calculations

- Layer toggles

- Exportable map images

- Analyst annotations

### Component 5: Scoring Engine

Purpose:

Generate standardised, comparable scores.

Features:

- Modular scoring

- Weighted overall score

- Confidence score

- Gating risks

- Manual override

### Component 6: Report Generator

Purpose:

Create polished customer deliverables.

Features:

- PDF report

- Memo

- Map pack

- Evidence appendix

- Version tracking

### Component 7: Expert Review Workflow

Purpose:

Ensure technical credibility.

Features:

- Assign reviewer

- Capture comments

- Require approval for high-risk sections

- Track changes

# 13. MVP Screens

## 13.1 Screen: Login

Required elements:

- Email/password or SSO

- Organisation association

- Role-based redirection

## 13.2 Screen: Project Dashboard

Required elements:

- Project name

- Customer organisation

- Status

- Deadline

- Sites

- Lead analyst

- Expert reviewer

- Report status

- Last updated

## 13.3 Screen: Site Intake

Required sections:

- Site identity

- Location

- Load assumptions

- Project timeline

- Land control

- Power strategy

- Flexibility assumptions

- Backup generation/storage

- Known utility/TSP information

- Uploaded documents

## 13.4 Screen: Site Map

Required elements:

- Site marker/boundary

- Layer controls

- Grid asset overlays

- Distance table

- Candidate POI notes

- Map export button

## 13.5 Screen: Analysis Checklist

Required checklist modules:

- Intake completeness

- Power feasibility

- Interconnection readiness

- Reliability risk

- Energy economics

- Flexibility

- Site/non-power risks

- Evidence

- Expert review

## 13.6 Screen: Scoring

Required elements:

- Module scores

- Sub-factor scores

- Overall score

- Confidence level

- Verdict

- Override controls

- Override reason

- Score history

## 13.7 Screen: Evidence Library

Required elements:

- Source list

- Add source

- Upload source

- Link source to report section

- Confidence level

- Access date

- Notes

## 13.8 Screen: Report Builder

Required elements:

- Report template selection

- Auto-generated draft sections

- Editable report text

- Map inserts

- Scorecard insert

- Evidence appendix

- Export PDF

- Submit for review

## 13.9 Screen: Expert Review

Required elements:

- Assigned reviewer

- Review checklist

- Comments

- Required changes

- Approval status

- Timestamp

# 14. MVP Workflow States

## 14.1 Project Statuses

- Draft

- Intake incomplete

- Intake complete

- In analyst review

- In expert review

- Report drafting

- Final review

- Delivered

- Archived

## 14.2 Report Statuses

- Not started

- Draft generated

- Analyst edited

- Expert review required

- Expert approved

- Final approved

- Delivered

## 14.3 Site Statuses

- New

- Location validated

- GIS screen complete

- Interconnection checklist complete

- Reliability checklist complete

- Scored

- Reviewed

- Reported

# 15. Data Sources

## 15.1 Required MVP Data Categories

The MVP needs data in these categories:

- Site/customer inputs

- Parcel/location data

- Transmission assets

- Substations

- Utility/service territories

- ISO/RTO rules and documents

- Large-load interconnection documents

- Pricing zone/market context

- Congestion indicators

- Generation assets

- Environmental/flood/permitting overlays

- Water/cooling indicators

- Road/fibre/industrial infrastructure indicators

## 15.2 Source Priority

Source reliability should be ranked:

- Official ISO/RTO, utility, TSP, DSP, regulator, or government sources

- Customer-provided engineering documents

- Commercial energy datasets

- Public GIS datasets

- Analyst-derived calculations

- Unverified web sources

## 15.3 Data Freshness

Each dataset must have:

- Source

- Last updated date, where available

- Access date

- Confidence level

- Notes on limitations

## 15.4 Data Licensing

Before commercial use, every dataset must be checked for:

- Licence terms

- Commercial reuse rights

- Attribution requirements

- Redistribution restrictions

- API usage limits

- Confidentiality limits

# 16. Security and Confidentiality

## 16.1 Security Requirements

The MVP must include:

- User authentication

- Role-based permissions

- Organisation-level data isolation

- Encrypted file storage

- HTTPS

- Audit logs

- Secure password policy or SSO

- Restricted admin access

## 16.2 Confidentiality Requirements

Customer projects should be treated as confidential by default.

Required protections:

- Organisation separation

- Private project access

- NDA status field

- No cross-customer data exposure

- Internal-only analyst notes

- Controlled report sharing

## 16.3 Future Security Requirements

Not mandatory for first MVP, but should be planned:

- SOC 2 readiness

- SSO/SAML

- Data retention policy

- Customer-managed access

- Watermarked exports

- Legal hold / deletion workflows

# 17. Human Review Requirements

## 17.1 Analyst Review

Every report must be reviewed by a GridReady analyst before delivery.

## 17.2 Expert Review

Expert review is mandatory if:

- Site load is 75 MW or greater

- Reliability score is below 70

- Interconnection readiness score is below 70

- Ride-through assumptions are unknown

- Backup generation or storage is part of the strategy

- Customer intends to use report for investor underwriting

- Analyst marks any critical risk

## 17.3 Approval

A report cannot be marked delivered until:

- All critical sections are complete

- All high-risk assumptions are flagged

- Required evidence is attached

- Expert review is complete, if triggered

- Limitations language is included

- Final verdict is selected

# 18. Commercial Packaging

## 18.1 MVP Product Packages

### Package 1: Single-Site Feasibility Screen

Purpose:

Early site go/no-go decision.

Deliverables:

- PDF report

- Map pack

- Scorecard

- Readiness checklist

- 30-minute review call

Target price:

- $5,000–$15,000

Turnaround:

- 5–10 business days

### Package 2: Multi-Site Screening Pack

Purpose:

Compare and rank multiple candidate sites.

Deliverables:

- Multi-site ranking report

- Individual site scorecards

- Map pack

- Top risks

- Recommended shortlist

- Review call

Target price:

- $25,000–$75,000

Turnaround:

- 10–20 business days depending on number of sites

### Package 3: Investor Underwriting Pack

Purpose:

Support investment committee or transaction diligence.

Deliverables:

- Deeper report

- Sponsor assumption review

- Interconnection-readiness review

- Reliability-risk review

- Investor memo

- Diligence question list

- Review call

Target price:

- $25,000–$100,000+

Turnaround:

- 10–20 business days

### Package 4: Strategic Retainer

Purpose:

Ongoing site screening for developers, investors, or energy companies.

Deliverables:

- Monthly site screens

- Market updates

- Priority review

- Data exports

- Custom memos

Target price:

- $5,000–$25,000/month

# 19. Build Phases

## 19.1 Phase 0: Manual Prototype

Timeline:

2–4 weeks

Goal:

Create the first credible sample report manually.

Deliverables:

- Site intake form

- Report template

- Scoring rubric

- Data-source checklist

- Sample ERCOT site report

- Sales one-pager

Tools can be simple:

- Google Forms

- Google Sheets

- QGIS

- Google Docs

- Notion

- Manual PDF export

Exit criteria:

- One complete sample report exists

- One-page offer exists

- Outreach can begin

## 19.2 Phase 1: Services-Led MVP

Timeline:

4–8 weeks

Goal:

Sell and deliver 3–5 paid pilot reports.

Deliverables:

- Repeatable report template

- Analyst spreadsheet

- Manual GIS workflow

- Standard scoring model

- Evidence appendix

- Expert review process

Exit criteria:

- 3 paid pilots sold or in negotiation

- Reports delivered within 10 business days

- Customer feedback collected

- Repeated workflow steps identified

## 19.3 Phase 2: Internal Analyst Platform

Timeline:

8–16 weeks

Goal:

Build software to make report production faster and more consistent.

Deliverables:

- Web app

- Site database

- Analyst console

- GIS map view

- Evidence library

- Checklist workflow

- Scoring engine

- PDF report generator

Exit criteria:

- Analyst can produce a draft report from structured data

- Scorecard is generated automatically

- Evidence sources are tracked

- Report generation time reduced by at least 40%

## 19.4 Phase 3: Customer Portal

Timeline:

16–24 weeks

Goal:

Allow customers to submit sites, track status, and receive reports through a portal.

Deliverables:

- Customer login

- Site intake portal

- Project dashboard

- Report delivery

- File upload

- Comment/request workflow

Exit criteria:

- Customers can submit sites without email/manual handoff

- Reports are delivered through platform

- Internal team manages project status in app

## 19.5 Phase 4: Early SaaS Product

Timeline:

6–12 months

Goal:

Turn repeated workflow into subscription product.

Deliverables:

- Multi-site comparison

- Saved site portfolio

- Market modules

- Team collaboration

- Data exports

- Subscription billing

- API/data access prototype

Exit criteria:

- Customers use the platform repeatedly

- Revenue includes retainers or subscriptions

- Reports are partially self-serve

- Proprietary site-readiness dataset is forming

# 20. MVP Acceptance Criteria

The MVP is successful when the following are true:

## Product Acceptance

- A customer can submit a site.

- An analyst can complete a structured site analysis.

- The system can store site, evidence, score, and report data.

- A PDF report can be generated from structured inputs.

- Each report includes scores, risks, evidence, assumptions, and recommendation.

- Expert review can be tracked.

- Reports are consistent across customers.

## Commercial Acceptance

- At least 3 customers agree to paid pilots.

- At least 5 site assessments are completed.

- At least 2 customers say they would pay for another report or retainer.

- Average report turnaround is 10 business days or less.

- Manual effort per report decreases after each delivery.

## Quality Acceptance

- No final report contains unsupported factual claims.

- Every key recommendation includes source, assumption, or expert judgement.

- All high-risk reliability/interconnection findings are reviewed by a qualified expert.

- Limitations language appears in every report.

- Customer can clearly understand the go/no-go recommendation.

# 21. Key Metrics

## 21.1 Product Metrics

- Site assessments completed

- Average turnaround time

- Analyst hours per report

- Percentage of report auto-generated

- Number of evidence sources per report

- Number of manual overrides

- Report revision count

- Customer satisfaction score

## 21.2 Commercial Metrics

- Paid pilots sold

- Average contract value

- Conversion from pilot to repeat work

- Retainer conversion rate

- Number of sites screened per customer

- Gross margin per report

- Sales cycle length

## 21.3 Quality Metrics

- Number of unsupported claims caught in review

- Number of expert-review corrections

- Number of customer disputes

- Number of stale data issues

- Number of reports delivered late

- Confidence-score distribution

# 22. Team Requirements

## 22.1 Minimum Team for MVP

The MVP can be built with:

- Founder / product lead

- Energy/interconnection expert

- GIS/data analyst

- Full-stack engineer

- Part-time designer or frontend developer

- Part-time power systems reviewer

## 22.2 Role Responsibilities

### Founder / Product Lead

- Customer discovery

- Sales

- Product scope

- Report quality

- Commercial packaging

- Expert network

### Energy/Interconnection Expert

- Interconnection checklist

- Regulatory/process interpretation

- Utility/TSP workflow validation

- Report review

### GIS/Data Analyst

- Site mapping

- Grid asset analysis

- Dataset preparation

- Spatial calculations

- Map exports

### Full-Stack Engineer

- Web app

- Database

- API

- Report generator

- User management

- Infrastructure

### Power Systems Reviewer

- Ride-through risk

- Protection settings

- Load modelling questions

- Reliability section validation

# 23. Risks and Mitigations

## 23.1 Trust Risk

Risk:

Customers may not trust a software-generated recommendation for high-stakes infrastructure decisions.

Mitigation:

- Human review

- Expert review

- Evidence appendix

- Clear assumptions

- Confidence levels

- No black-box claims

## 23.2 Data Completeness Risk

Risk:

Public data may not reveal actual available capacity or upgrade timelines.

Mitigation:

- Position product as early-stage diligence

- Flag unknowns clearly

- Require utility/TSP confirmation for final decisions

- Separate evidence from assumptions

## 23.3 Liability Risk

Risk:

Customers may rely on the report as if it guarantees interconnection.

Mitigation:

- Clear limitations language

- Legal review before commercial launch

- Terms of service

- No guarantee language

- Professional liability insurance when appropriate

## 23.4 Incumbent Risk

Risk:

Existing energy-data platforms may add data-centre siting modules.

Mitigation:

- Focus narrowly on AI data-centre large-load readiness

- Build workflow depth

- Build proprietary report dataset

- Build expert-reviewed readiness methodology

- Own investor/utility-ready packaging

## 23.5 Overbuilding Risk

Risk:

Team spends too long building software before validating paid demand.

Mitigation:

- Start with manual reports

- Sell pilots early

- Build only repeated workflow components

- Use software to reduce delivery time, not to impress

# 24. Legal and Disclaimer Requirements

Every report and platform page must include legally reviewed disclaimer language covering:

- No guarantee of power availability

- No guarantee of interconnection approval

- No substitute for utility/TSP/DSP/ISO/RTO studies

- No substitute for licensed engineering advice

- No legal or regulatory advice

- Public data may be incomplete or outdated

- Customer-provided data may affect conclusions

- Final decisions require direct engagement with relevant authorities and technical advisors

# 25. What Not to Build First

Do not build these in the MVP:

- Fully self-serve SaaS

- Real-time grid monitoring

- Live workload optimisation

- Demand-response dispatch

- Automated interconnection submission

- Full power-flow modelling

- Nationwide coverage

- Marketplace for sites

- Power procurement marketplace

- Energy trading engine

- Utility-facing pipeline management system

- API product

- Mobile app

These can become later products only after the report workflow proves commercial demand.

# 26. Recommended First 30 Days

## Week 1

Build:

- One-page offer

- Site intake form

- Report outline

- Scoring rubric

- Data source checklist

Decide:

- ERCOT only

- 75 MW+ large-load focus

- First customer segment: data-centre developers and infrastructure investors

## Week 2

Build:

- Manual report template

- Evidence appendix template

- Analyst checklist

- Risk scoring spreadsheet

- Sample map pack

## Week 3

Create:

- One sample site report

- One investor memo

- One sales deck or one-pager

- Outreach list of 50 prospects

## Week 4

Do:

- 20–30 customer conversations

- Offer paid pilot reports

- Refine based on objections

- Secure at least one pilot customer

# 27. Recommended First 90 Days

## Days 1–30

Goal:

Create and sell first version.

Output:

- Sample report

- Outreach

- First pilot conversations

## Days 31–60

Goal:

Deliver first paid reports manually.

Output:

- 1–3 paid reports

- Customer feedback

- Refined report template

- Refined scoring

## Days 61–90

Goal:

Build internal software around repeated work.

Output:

- Site database

- Analyst dashboard prototype

- GIS asset workflow

- Evidence library

- Draft report generator

# 28. Definition of Done for MVP V1

The MVP V1 is done when:

- A customer can submit a site.

- GridReady can produce a full report.

- The report has a clear verdict.

- The report includes scoring.

- The report includes evidence.

- The report includes assumptions.

- The report includes interconnection-readiness checklist.

- The report includes reliability-risk checklist.

- The report includes flexibility assessment.

- The report includes investor/utility-ready memo.

- A human analyst approves the report.

- Expert review is captured where required.

- The customer receives a polished PDF.

- The workflow is repeatable for the next site.

- The system stores enough structured data to begin building a proprietary site-readiness dataset.

# 29. Final MVP Positioning

The MVP should be described externally as:

GridReady AI helps AI data-centre developers and infrastructure investors assess whether candidate sites are power-feasible, interconnection-ready, and grid-credible before committing serious capital.

The first product should be described as:

A power-feasibility and interconnection-readiness report for AI data-centre and large-load sites.

The internal product principle should be:

Do the expert workflow manually first, then software-automate the repeated parts.

The company should not try to win by being a generic AI tool.

It should win by becoming the trusted intelligence layer for time-to-power, interconnection readiness, and grid credibility in AI infrastructure development.